**Liverani Side Channel Pump FALCO Model Numbers.**

**FALCO 30 –** Bronze. 1400 rpm. Max flow 60 L/min. Max head 15M.

**FALCO 40 -** Bronze. 1400 rpm. Max flow 110 L/min. Max head 18M.